Checklist for topic D – Medical Physics

Before attempting practice questions on the medical physics topic, check that you:

- Understand the difference between diagnosis and therapy.

- Appreciate that radiation can mutate or kill living cells.

- Know that alpha radiation is topped by the skin and beta radiation by a few cms of flesh.

- Appreciate that radioisotopes that only emit gamma are generally preferred.

- Know the functions of the main parts of the gamma camera.

- Understand how, by injecting a known volume of radioactive tracer with a known activity into the bloodstream, the volume of blood in a patient can be determined.

- Know that most radioisotopes used in medicine are prepared by neutron bombardment.

- Appreciate how different radioisotopes are selected for different tasks.

- Know that high-energy gamma rays (1.3MeV) from 60Co are used to kill cancerous cells.

- Understand why 123I (gamma only) is used to monitor thyroid function, whereas 131I (beta and gamma) is used to destroy parts of an overactive thyroid.

- Know that metastable radionuclides such as 99mTc are in a higher energy state than normal and decay to a more stable state by emitting gamma radiation.

- Understand the principle of an elution cell and how it provides a convenient source of gamma radiation.

- Appreciate that the amount of radioisotope remaining in the body is determined by a combination of how quickly it decays and how quickly the body excretes it.

- Know the meanings of radioactive and biological half-lives.

- Can use their values to calculate the effective half-life.

- Are aware of the basic principles of radiological protection.

- Know that x-rays are produced when high-speed electrons are suddenly stopped.

- Can draw and label the structure of a typical x-ray tube and know why its anode is rotated.

- Appreciate the efficiency of an x-ray tube is very low.

- Understand how the maximum energy (in eV) of emitted x-rays depends on the accelerating voltage.

- Know that x-rays with energies around 100keV are used for diagnosis.

- Appreciate that bone absorbs a lot more of these x-rays than tissue or air due to its larger proton number.

- Know that a photographic plate, on the other side of the patient, detects non-absorbed x-rays.

- Appreciate how using a point source of x-rays and a lead anti-scatter grid improves the sharpness.

- Understand why the intensity of x-rays from a point source follows an inverse square law.

- Know that x-rays with energies around 1MeV are used for therapy.

- Appreciate that the absorption of these x-rays is less dependent on proton number and so can be used to treat tissue as well as bone.

- Understand the need for alignment devices and why a multiple-beam rotational method is used.

- Appreciate the problems associated with using x-ray doses that are either too low or too high.

- Know that ultrasound is very high frequency longitudinal waves.

- Appreciate that ultrasonic diagnosis relies on waves being reflected from boundaries along its path – the sonar principle.

- Know that the amount of reflection depends upon the acoustic impedance of each material.

- Can calculate the reflection coefficient for a given boundary.

- Have learnt the basic principles of the A-scan and B-scan methods for ultrasonic diagnosis.

- Appreciate that the probe used functions as both transmitter and receiver.

- Know why a coupling medium (gel) is used between the probe and the skin.

- Understand how time delays are used to calculate depths of boundaries.

- Have learnt and can use the equation c = fλ

- Appreciate that small wavelengths suffer less diffraction and so give better resolution although they are more readily absorbed and so the reflected signal is weaker.

- Have compared ultrasound and x-ray diagnostic techniques.