306	Absorption of Beta Radiation

Apparatus:

GM-tube, counter and power supply, aluminium absorbers, special source and absorber holder, micrometer, beta source (strontium 90), local rules sheet, spill tray.

Procedure:

1.	Read the sheet “Local rules for the use of sources of ionising radiations by students”

2.	Connect the GM-tube to the digital counter/power supply and switch on.

3. 	Without the radioactive source present find the background count B (in counts per second) by noting 	the reading of the counter over a 100 second period.

4.	Set up the apparatus as in the diagram (with the thinnest any aluminium absorber in place) with the 	VERY FRAGILE & EXPENSIVE front of the GM tube at a known constant distance (e.g. 8cm) 	from the source. All of the above should be placed on the spill tray.

5.	Record the count received by the counter over a 100 seconds period.

Calculate the count rate (per second).

Subtract the background count rate B and so obtain a corrected count rate with the absorber C (s –1).

6.	Use the micrometer to find the average thickness, x (mm) of the aluminium sheet.

7.	Repeat stages 4 to 6 for other thicknesses of aluminium.

Note: 	(a) You can use more than one sheet at a time.

(b) Do not use any of the lead absorbers.

8.	Plot a graph of corrected count rate C/s –1 against aluminium thickness x (mm).

9. 	Use your graph to determine the thickness of aluminium required to reduce the number of beta particles passing by half.

This is known as the half-thickness x1/2.