112	Estimation of Planck's Constant (h)

Apparatus:

Photoelectric effect unit, 9V battery, 12V bulb, lab power supply set at 12V, black, rectangular cardboard tube, cathode ray oscilloscope, multimeter set at 20V DC, set of six filters, wires.

Background:

When a suitable metallic surface is illuminated with light of frequency f, photoelectrons are ejected from the surface with a range of kinetic energies. For the most energetic photoelectrons the Einstein equation gives:

hf  = φ + (1/2 mv2)max

where: 	     hf	= energy of the incident light photon (h = Planck's constant,  f = frequency of photon)

φ	= work function of the metal used

(1/2 mv2)max = kinetic energy of the most energetic photoelectron

It is possible, therefore, to stop the emission by applying a suitable potential difference between the metal and an adjacent electrode. If this p.d. is V, is just large enough, then:

eV =  (1/2 mv2)max	where:	e  = electronic charge = 1.6 x 10-19 coulombs

therefore:	hf  = φ + eV	 	or:	hc  = φ + eV

			where:	c = speed of light = 3.0 x 108 m/s

= wavelength of light photon

The above equation can be rearranged to give:   eV = hc  - φ



Dividing throughout by e gives: V = 	hc   -  	φ

e	e

A graph of stopping voltage, V against (1 ÷  ) will have gradient equal to hc / e.

The Experiment:

1.	Connect the photoelectric unit to the 9V battery, cathode ray oscilloscope and multimeter as shown in diagram A opposite.

2.	Connect the 12V light bulb to the ALTERNATING (YELLOW TERMINALS) output of the lab power 	supply set at 12V.

3.	Remove the black plug from the 'amp input' on the photoelectric unit. (If it is present)

4.	Place the violet filter (marked violet 380 - 450 nm) over the photocell, then place the cardboard 		rectangle and the light bulb above as shown in diagram B.

5.	Rotate the dial on the photoelectric unit anticlockwise so that the multimeter reads zero.

6.	Press down the red 'on' switch, and keep on pressing it, while adjusting the oscilloscope settings 		until you see a sinusoidal trace on the screen of amplitude of about 4cm.

9V battery

dial

20

V

DC AC

COM

photocell

cathode ray

oscilloscope

amp

input

on

multimeter

set at 20V

DC

DIAGRAM A

photoelectric unit

to 12V AC

supply

photoelectric unit

black

rectangular

cardboard

tube

filter above

photocell

light bulb

DIAGRAM B

7.	Now slowly turn the dial clockwise. This increases the reverse voltage to the photocell. Eventually this voltage will reduce the trace on the oscilloscope to zero. When this occurs note the reading on the multimeter which is a value for the stopping voltage, V for this situation.

8.	Return the voltage to zero and repeat stage 7 two more times and so obtain an average value of V.

9.	Note the minimum wavelength allowed by the filter,   (380nm for the violet filter)

10.	Repeat stages 4 to 9 with the other five filters. Tabulate all of your measurements along with the 		calculation of (1 ÷  ) for each filter.

The other filters:  blue (440 - 490nm);  blue/green (480 - 530nm);  green (530nm - 570nm)

orange (575 - 610nm);   red (610 - 620nm)		Note: nm = nanometres = 1.0 x 10-9 m

11.	Plot a graph of stopping voltage V against (1 ÷  ), measure its gradient and use it to obtain a value for Planck's constant h.