113	Investigation of the magnetic field 						around a flat coil using a Hall probe

Apparatus:

Hall probe and magnetic field sensormeter, bar magnet, single flat coil (helmholtz), coil holder, metre ruler, clamp stand, lab power supply set on 12V DC, rheostat, multimeter on 10A scale, wires

Procedure :

1.	Switch on the magnetic field sensormeter and select the ±10mT scale.

The probe attached to this meter  measures magnetic fields using the quantity

MAGNETIC FLUX DENSITY, symbol B in the unit TESLA (T) (1000mT = 1T).

2.	Move the end of the probe around the bar magnet and notice how the reading varies in magnitude and sign.

Notice in particular how the orientation of the probe affects the reading obtained.

(There is no need to record any measurements at this stage.)

3.	Refer to the diagram shown below. Clamp your metre ruler horizontally so that it lies along the horizontal axis of the flat coil. The zero of the ruler should be positioned at the mid point of the coil.

Connect the coil to the lab power supply set at 12V DC via an ammeter and rheostat. Adjust the rheostat so that about 1.5A of current flows through the coil. Maintain this current level throughout the rest of the experiment.

coil

radius

angle

Hall

probe

r



to magnetic field sensor

to power supply

metre ruler placed flat along the horizontal axis of the coil clamped

flat vertical coil in its holder

distance

x

4.	ENSURE THAT THE BAR MAGNET IS WELL OUT OF THE WAY.

Place the end of the Hall probe at the zero of the ruler, distance x = 0.

The probe should give a reading of about + 5 to + 6 mT. If it gives a negative reading, reverse the direction of current through the coil.

5.	Turn off the current. Record the magnetic background reading of the sensormeter, Bb, this might be zero.

6.	Turn on the current again. Record how the magnetic flux density, B varies over distance x = 0 to 10 cm.

(Remember to correct your readings for the background flux density, Bb.)

7.	Plot a graph of B against distance x.

8.	Theory predicts that the magnetic flux density B varies with angle  according to the relationship:

B = Bmax  [cos()]3.  Where Bmax = the flux density when x = 0

For two values of distance x, check how well this equation works.

Note: When calculating cos take the radius, r of the coil to be 6.65 cm.