104      Using a reed switch to measure 					capacitance and permittivity

Apparatus:

Lab PSU set at 8V, two digital multimeters (one set at 20V dc the other at 200µA dc), reed switch box, parallel plate aluminium capacitor with insulating sheet, 0.01µF capacitor, small plastic squares (in a box usually), micrometer, frequency meter set on 2kHz, signal generator set initially at 50Hz sinusoidal.

Diagram:

Note: In addition the frequency meter should be connected to the output of the frequency generator.

Theory:

The signal generator controls a reed switch. This is a switch that at first connects the supply voltage (approx. 8V) to the capacitor. The capacitor charges and stores a charge Q given by the equation:

Q = CV

A few moments later the switch then moves in such a way as to connect the capacitor to the ammeter. The capacitor discharges over a time t, the current I flowing being given by:

I = Q / t

The above cycle repeats itself at a frequency equal to twice that of the signal generator’s frequency , f. Therefore in a time t = 1 / 2f seconds a charge Q is transferred via the capacitor from the power supply to the ammeter.

Q = CV = I t = I / 2f

and so:

CV = I / 2f

I = 2CVf

Procedure:

(a) Measurement of capacitance

1.	Set up the apparatus as shown in the above diagram. Set the power supply to 8V dc and the 		signal generator to 50Hz sinusoidal. Turn up the output of the signal generator until you hear 		the reed switch buzzing steadily. At this point the voltmeter should be reading about 10V and 		the ammeter about  2 to 3 µA.

2.	Obtain current readings for a range of frequencies between 50Hz and 500Hz. The current 			should rise over this intervals and you may need to increase the output from the signal 			generator in order to keep the reed switch operating.

3.	Draw a graph of current (I/A) against frequency (f/Hz).

4.	Use the gradient of this graph to calculate the capacitance of the capacitor.

(b) Measurement of permittivity

5.	Set the signal generator at 200Hz and replace the 0.01µF capacitor with the aluminium

parallel-plate capacitor as shown in the diagram below:

6.	Record the current & voltage for this case and also measure the area A, of overlap of the plates 		and the thickness d, of the insulating sheet.

7.	Repeat stages 4 & 5 but this time with an air gap between the plates. Use the small plastic 			squares to separate the plates.

8.	Use the current, voltage and frequency values to calculate the capacitances in the above two 		cases.

C = I / (2Vf)

9.	The capacitance of a parallel plate capacitor is also given by:

C =  A / d, where  is the permittivity (in Fm–1 ) of the insulation.

Calculate the permittivity in both of the above cases.

10.	The value with the air gap should be approximately the permittivity of free space o.

Use this value to calculate the relative permittivity r of the plastic insulation given that:

r  =    / o

where   is the permittivity of the insulating sheet.