GAUTENG DEPARTMENT OF EDUCATION SENIOR CERTIFICATE EXAMINATION ELECTRICIANS WORK SG TIME: 3 hours MARKS: 200

| REQUIREMENTS: Drawing instruments and an approved calculator. INSTRUCTIONS: Answer ALL the questions. Rule off in your answer book after completing each question. Formulae and calculations, where applicable, must be shown. A list of formulae, which may be used when applicable, appears on the last page of the question paper. |  |
| --- | --- |

| QUESTION 1 ELECTRICAL CURRENT THEORY |  |
| --- | --- |

| Determine the inductance of a coil that must be connected in series with a 100 watt, 110 volt incandescent lamp so that it can operate from a 220 volt 50 Hz alternating current supply. (Assume that the resistance of the coil is negligible.) Calculate the frequency of an alternating voltage which has a cycle time of 10ms. A parallel circuit consists of a resistor of 60 ohms, a coil with an inductance of 60 mH and a capacitor with a capacitance of 150 microfarad. If the supply is 120V, 50 Hz, calculate: The current in each component The total current in the circuit The phase angle of the circuit The power factor of the circuit | (12) (2) (10) (3) (2) (2) |
| --- | --- |

| 1.4 An alternating current is represented by the following equation: |  |
| --- | --- |

| i = 60 sin 942,6 t |  |
| --- | --- |

| Calculate: The effective value of the current The frequency of the supply The instantaneous value of the current 0,002 seconds after it is switched on. | (3) (3) (4) |
| --- | --- |

| 1.5 Define the following alternating current terms: RMS value Average value | (3) (3) |
| --- | --- |

| 1.6 A series circuit consists of a pure resistance of 20 ohms, and an inductance of 0,07 henry. The circuit is connected to an alternator with a supply voltage of 220 volt. The alternator has two poles and runs at a speed of 3 000 revolutions per minute. |  |
| --- | --- |

| Calculate: The inductive reactance of the coil The impedance of the circuit. | (7) (3) |
| --- | --- |

| 1.7 Name THREE types of loads that will cause a lagging power factor. | (3) [60] |
| --- | --- |

| QUESTION 2 INSTRUMENTS AND THREE-PHASE ALTERNATING CURRENT SYSTEMS |  |
| --- | --- |

| Discuss the vibrating-reed frequency meter under the following headings: 2.1.1 Construction 2.1.2 Operation | (5) (5) |
| --- | --- |

| Draw a simple circuit diagram to show how a wattmeter should be connected to measure the power in a single-phase circuit. A wattmeter used to measure the power in an AC circuit reads 2 000 watts, while an ammeter and a voltmeter connected in the same circuit read 10 amperes and 250 volts, respectively. Calculate: | (4) |
| --- | --- |

| 2.3.1 The power factor of the circuit The active component of the current The reactive component of the current The reactive volt-amps. | (4) (3) (3) (3) |
| --- | --- |

| 2.4 Sketch and label the construction of the electron canon of the cathode-ray tube. | (7) |
| --- | --- |

| 2.5 Explain briefly the function of any THREE components in the electron canon of the cathode-ray tube. | (6) [40] |
| --- | --- |

| QUESTION 3 TRANSFORMERS |  |
| --- | --- |

| 3.1 Three single-phase transformers with a turns ratio of 50:1 are connected in delta-star. The supply voltage is 11 kV and the secondary phase-current is 450 A. |  |
| --- | --- |

| Calculate the secondary line voltage. Calculate the secondary phase voltage. Calculate the primary line-current. Calculate the primary phase-current. Calculate the transformer rating in kVA. Draw schematic diagrams of the three single-phase transformers and connect them in delta-star. | (4) (2) (3) (2) (3) (6) |
| --- | --- |

| 3.2 Draw neatly labelled circuit diagrams of the following instrument transformers connected to a supply: A current transformer A voltage transformer | (5) (5) [30] |
| --- | --- |

| QUESTION 4 ALTERNATING-CURRENT MOTORS |  |
| --- | --- |

| Answer the following questions with reference to the three-phase slip-ring motor. 4.1.1 Explain the construction of the rotor. How is the starting torque improved? What is the purpose of the short-circuiting and brush-lifting gear? | (4) (3) (2) |
| --- | --- |

| 4.2 Calculate the phase current of a three-phase delta-connected alternator with a line current of 10 ampere. 4.3 What is the purpose of the no-volt coil in a motor starter? Draw a neatly labelled circuit diagram of a capacitor-start motor. Draw the control circuit of a direct-on-line starter that will also change the direction of rotation of the motor. A four-pole, three-phase induction motor is connected to a 380 volt, 50 Hertz supply. The slip of the motor is 5%. | (4) (4) (8) (10) |
| --- | --- |

| Calculate: 4.6.1 The synchronous speed 4.6.2 The rotor speed. | (4) (3) |
| --- | --- |

| 4.7 Briefly explain how the direction of rotation of a three-phase induction motor can be changed. | (2) |
| --- | --- |

| 4.8 A single-phase induction motor has an output power of 2 kilowatts and an efficiency of 88 percent. The power factor is 0,6 and the value of the sinusoidal applied voltage is 240 volt. |  |
| --- | --- |

| Calculate: The input power The current flow of the motor. | (3) (3) [50] |
| --- | --- |

| QUESTION 5 ELECTRONICS |  |
| --- | --- |

| Briefly explain, with the aid of a sketch, a covalent electron bond. Draw a simple circuit of an amplifier in which an NPN transistor is used. The emitter is common to the input and output circuit. The input and output waveforms must be shown. State the current carriers in the following materials: 5.3.1 N-type material 5.3.2 P-type material | (5) (6) (2) (2) |
| --- | --- |

| 5.4 What must be kept in mind when any portable electrical appliance is inspected? | (5) [20] |
| --- | --- |

| TOTAL: | 200 |
| --- | --- |

| FORMULA SHEET FORMULEBLAD Z = Z = Z = IT = XL =2fL Xc = P = V x I x Cos Cos = Tan = ; Cos = P = I2R Iact = I x cos Ireact = I x sin Star/ster delta IL = Iph IL = VL = VL = Vph F = P = S = Efficiency = Rendement = |  |
| --- | --- |