GAUTENG DEPARTMENT OF EDUCATION SENIOR CERTIFICATE EXAMINATION PLUMBING AND SHEET METALWORK SG TIME: 3 hours MARKS: 200

| INSTRUCTIONS: Answer ALL the questions. Please detach pages 5 to 8 and place it alongside the relevant question for ease of reference. Question 2.1 should be answered on the diagram sheet on page 8. Question 8 and all the other sketches have to be done in the answer book. |  |
| --- | --- |

| QUESTION 1 |  |
| --- | --- |

| 1.1 Name SIX areas in the water supply chain that need specific attention in order to prevent cholera. Name FIVE organisms that can pollute water. Name THREE types of filters that are suitable for water purification. List the factors that cause pollution in a swimming pool. What is the purpose of backwashing and how is it done? Why is water aerated? | (6) (5) (3) (5) (4) (2) [25] |
| --- | --- |

| QUESTION 2 |  |
| --- | --- |

| Seweraging Answer this question on the diagram sheet on page 8. 2.1 The diagram on page 8 shows a partial plan of a house with outbuildings where the sanitary wall fitments are indicated by numbers. Design an efficient, suitable sewerage system that conforms to all regulations. 2.2 On completion of the lay-out of a sewerage system, you are requested to inspect the job. Name FIVE important aspects of the construction to which you will pay attention. | (15) (10) [25] |
| --- | --- |

| QUESTION 3 |  |
| --- | --- |

| How would you implement industrial housekeeping in your plumbing workshop? What safety precaution would you take when using each of the following apparatus? 3.2.1 Treadle guillotine 3.2.2 Oxyacetylene welding machine How would you solve the problem of a leaking tap? What safety measures would you prescribe to prevent the possible transmitting of Aids in the workshop? Name THREE causes of accidents in the workshop. | (4) (3) (5) (4) (6) (3) [25] |
| --- | --- |

| QUESTION 4 |  |
| --- | --- |

| Tools, working techniques and methods Figures A – L on pages 5 and 6 show a number of working techniques and methods used. Study the sketches carefully and answer the following questions. 4.1 Write the letters A – L below each other and name the technique or method used in each case. 4.2 Write the numbers 1 – 13 below each other and name the tools or equipment indicated by the arrow. | (12) (13) [25] |
| --- | --- |

| QUESTION 5 |  |
| --- | --- |

| 5.1 Explain how the intervals are regulated between each flushing of an automatic cistern. Where and for what purpose would you use slop hoppers? Show by means of a labelled cross-sectional drawing the design and layout you would use to instal a slab urinal. List SIX steps that can be taken to prevent cholera. | (2) (5) (12) (6) [25] |
| --- | --- |

| QUESTION 6 |  |
| --- | --- |

| 6.1 Name THREE principles of heating that you regard as important and give an example of how each is applied in a central heating system. 6.2 Design and draw a labelled diagrammatic sketch of a central heating system for a three-storey building. Make use of three radiators on each floor and arrange the pipes according to the two-pipe dropping system. Indicate the flow of water by means of arrows. 6.3 According to which TWO methods are the pipes of a central heating system arranged? | (9) (14) (2) [25] |
| --- | --- |

| QUESTION 7 |  |
| --- | --- |

| Ventilation and central air-conditioning 7.1 Name, in sequence, SIX important stages in the treatment of the air in a large air-conditioning system. Give a short description of each stage. 7.2 Name the type of ventilation system you would recommend in each of the following instances: A school classroom The kitchen in a hostel A large theatre 7.3 Name THREE aids which could assist the natural ventilation of a building. 7.4 What are the major advantages of natural ventilation over mechanical ventilation? | (12) (6) (6) (1) [25] |
| --- | --- |

| QUESTION 8 |  |
| --- | --- |

| Pattern development Name the method you would apply to develop the following patterns: 8.1.1 An oblique cone 8.1.2 A square-to-round transition piece Figure 8 on page 7 shows two views of a square-to-square transitional piece tapered from 56 mm to 38 mm. Copy the given views full size and develop the pattern. NOTE: The position of the groove joint is indicated by point E-E. TOTAL: | (4) (21) [25] 200 |
| --- | --- |

| A. B. C. D. E. F. |  |
| --- | --- |

| G. H. I. J. K. L. |  |
| --- | --- |

| Figure 8 |  |
| --- | --- |

| DIAGRAM SHEET |  |
| --- | --- |

| CANDIDATE’S EXAMINATION NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Answer Question 2.1 on this diagram sheet. Once you have completed Question 2.1, please detach this page and place it at the back of your answer book. |  |
| --- | --- |

|  | Stort | 1 | Shower |  |
| --- | --- | --- | --- | --- |
|  | Wastrog | 2 | Washing trough |  |
|  | Opwasbak | 3 | Sink |  |
|  | Bad | 4 | Bath |  |
|  | Spoelkloset | 5 | Water closet |  |
|  | Handewasbak | 6 | Hand wash basin |  |

| Municipal Main Sewage |  |
| --- | --- |

# Text boxes

1

4

5