ME207   1/5

# SCHOOL OF ENGINEERING

# MODULAR HONOURS DEGREE COURSE

# LEVEL 2

# SEMESTER 1

1998/99

# THERMOFLUIDS

# EXAMINERS : Dr F McCluskey/Dr S Sazhin

___________________________________________________________________________

Attempt FIVE questions only.	Time allowed: 3 hours

All questions carry equal marks.	Total number of questions = 8

# The figures in brackets indicate the relative weightings of parts of a question.

The following are provided:

Thermodynamic & Transport Properties of Fluids - SI Units

Pressure - Enthalpy Chart for R12

Pressure - Enthalpy Chart for R134a

Psychiometric Chart for Air

ME207   2/5

1.	(a)	Sketch the graph of the drag coefficient CD for a sphere as a function

of Reynolds number.	(3)

- Define the terms "drag coefficient" and "Reynolds number" and write down their mathematical expressions.	(6)

- If CD =  when Re < 0.2, derive from the definitions the expression for the drag force on a sphere:

# D = 3 ( U ( d

where all terms have their usual meaning.	(5)

- Dust particles have a density of 2000 kg/m3 and a mean diameter of 30(m.  Determine the terminal velocity of the dust particles in still air.  (Neglect buoyancy)

Air dynamic viscosity ( = 1.5 x 10-5 Pa.s, density ( = 1.3 kg/m3.  Assume the Stokes flow approximation and check this assumption from your solution.	(6)

ME207   3/5

2.	(a)	Sketch the air flow pattern behind an aerofoil of finite length and

discuss why such a pattern arises.	(6)

- How are lift and drag forces effected by this three dimensionality and name all the components of the drag force in this case.	(5)

- Calculate the component of drag on a bi-plane due to the presence of six struts between the wings in the following circumstances:

strut diameter:	1 cm

strut length	1 m

plane velocity	80 km/h

air density (:	1.2 kg/m3

air viscosity (:	1.7 10-5 N s m-2

take the value of CD at the appropriate Reynolds number to be 1.1.	(9)

3.	(a)	Derive expressions for the volumetric and torque efficiencies of a

pump.  Define all terms used.	(8)

- Define the overall pump efficiency and show how it is related to the efficiencies defined in part (a).	(4)

- What is the overall efficiency of a pump with a delivery of 15 l/min, a displacement of 10 cm3/rev, a pump speed of 2000 rev/min, a torque of 29.8 Nm at the pump shaft, operating against a maximum pressure rise of 100 bar?	(8)

ME207   4/5

4.	(a)	Explain the terms:

- pressure drag

- surface drag

- total drag

- deformation drag	(8)

- What is the point of streamlining fast moving subsonic objects?	(2)

- How does streamlining effect

- pressure drag

- surface drag?	(4)

- Is drag increased or decreased when the flow becomes turbulent?	(3)

- How is it possible to induce turbulent flow around a streamlined object?	(3)

5.	(a)	A refrigerator using refrigerant 12 and operating the ideal cycle has

evaporator and condenser pressures of 2 bar and 8 bar respectively.

The temperature at compressor outlet is 60 (C.  Calculate the  coefficient of performance.	(8)

- The R 12 is replaced by R134a.  Volumetric flowrate is adjusted such that the pressures are not changed, nor are the evaporator and condenser exit temperatures.  Calculate the COP.	(12)

ME207   5/5

- Water at 65(C flows through a 5 cm bore steel pipe 1 cm thick.  The surroundings are at 20(C.  The pipe conductivity is 52 W/m K and the surface heat transfer coefficients inside and outside are 1136 W/m2 K and 13 W/m2 K respectively.  Calculate the heat loss per metre length of pipe and the surface temperatures.	(20)

7.	(a)	The temperature of the windows in a house on a day in winter is 5 (C.

When the temperature inside the room is 23 (C and the barometric

pressure is 74.88 cm Hg, what would be the maximum relative

humidity that could be maintained in the room without condensation

on the window panes?	(5)

- Under these conditions find:

- the partial pressures of the water vapour and air	(5)

- the specific humidity of the mixture	(5)

- the density of the mixture.	(5)

8.	A closed system undergoes a reversible process in which the temperature increases from 222 K to 444 K.  The heat and work transfers per degree temperature rise are given respectively by = 450 J/K and

= 125 J/K.

# Calculate the change in

- the internal energy	(10)

- entropy for the process	(10)